## StormChamber System Calculator
DESIGN CALCULATOR | [37 empty] | NOTES |  |  |  | note: Calculations assume both end rows have the max number of chambers per row due to these rows having the least stone storage space. |  |  |  |  | note: Calculations assume chambers will be distributed between rows as evenly as possible. |  |  |  | not: F49 is the number of rows | [5 empty] | layer constraint dimension | 1st layer | 2nd layer | 3rd layer | 4th layer | do constraints apply? (yes=1,no=2) | max/min suggested number of rows for bottom layer
[40 empty] | 193.6952 | [7 empty] | bottom layer constraint direction |  |  | note: F9 is unit type | [5 empty] | width is 1 length is 2 | 2 | 0 | 0 | 0 | 2 | 1
[40 empty] | 154.5707 | [7 empty] | 2 |  |  | note: F11 is required storage
[40 empty] | 1 row 1 chamber system |  |  | 2 rows 2 chambers, 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R | note: F25 is direction of constraint (W or L) |  |  |  |  | Layer 1 Calculation check
[40 empty] | chamber length |  | 87 | full chamber length |  |  | 87 | single chamber length |  | 80 | stone storage | note: F27 is dimension of constraint
| Project Name: | [8 empty] | For more information visit ndspro.com, or if you need help call us at 571-521-9538 | [45 empty] | (Using Dimension Constraints)
|  | Engineer: | [37 empty] | full chamber volume |  | 97.86 | volume of both chambers |  |  | 97.86 | volume of both chambers |  | 186.1 | 83.0477 | Confirming System Calculations | [13 empty] | width of suggested rows | length of sugested number of C per R
|  | Location: | [13 empty] | CLICK HERE FOR DEIGN HELP OR TO REQUEST A LAYOUT | [39 empty] | Required Cubic Feet | Required Cubic Inches | Constraint Dimension (Length) | (Constriant Length-2endC length)/midC length |  | RoundDown for Maximum Number of midCs per Row |  | Maximum Number of Chambers per Row | 0
|  | Date: | [36 empty] | L1 | stone storage |  | 95.8352 | stone storage |  |  | 191.6703 | End C End R storage volume w/ stone (2x) |  | 176.4304 | additional stone | Imperial (inches and ft) | by system length
[51 empty] | total end-row end-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | 8.6667 | 46.1667
[40 empty] | Additional stone Storage |  | 30.6986 | Additional stone Storage |  |  | 32.7222 | Additional stone Storage |  | 23.7667 | 14.8111
| ENTER SYSTEM PARAMETERS | [7 empty] | SYSTEM RESULTS | [19 empty] | SYSTEM RESULTS | [26 empty] | 270 | 466560 | 50 | 5.6216 |  | 5 |  | 7 | 2
[40 empty] | total storage |  | 224.3938 | total storage |  |  | 322.2526 | total storage |  | 386.297 | total storage |  | 2 | 200.197 | 186.1 | 386.297
[51 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
|  | Measurement Type |  |  |  | Imperial | [27 empty] | Total Chamber Storage Volume | 186.1 |  | Cubic Feet | [12 empty] | 195.7188
[56 empty] | number of endCs per fullR*endRendCvolumes | Max number of midC per fullR*endRmidC Volume |  | Number of End Rows | min number of rows suggested |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
|  | Input Storage Volume |  |  |  | 270 |  | ft³ | [25 empty] | Total Stone Storage Volume | 200.197 |  | Cubic Feet |  | L2 | 1 row 1 chamber system |  |  | 2 rows 2 chambers 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R |  | 0 | 0 | 0 | 0
[50 empty] | stone storage | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total
|  | Select the Chamber Model |  |  |  | SC-44 | [27 empty] | Installed System Storage Volume | 386.297 |  | Cubic Feet |  |  | End C End R storage volume w/ stone |  | -39.144 | End C End R storage volume w/ stone |  |  | -78.288 | End C End R storage volume w/ stone |  | 111.66 | -39.144
[56 empty] | 387.3903 | 768.4676 |  | 1 | 1
[34 empty] | Minimum Internal Storage of a Chamber | 88 |  | Cubic Feet |  |  | Additional stone Storage |  | 0 | Additional stone Storage |  |  | 0 | Additional stone Storage |  | 0 | additional stone |  | 0 | 0 | 0 | 0
[25 empty] | ft | [25 empty] | total full middle-row middle-chamber volumes | Number of chambers | stone | chamber | total | note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
|  | Select Design Constraint |  |  |  | Length |  |  |  |  | 10 | in | [11 empty] | 5.1667 |  |  | 6 | ft | [5 empty] | Minimum Installed Storage with stone | 144.1352 |  | Cubic Feet |  |  | total storage |  | 58.716 | total storage |  |  | 19.572 | total storage |  | 111.66 | 0
[56 empty] | Required Storage | Chosen Number of Rows | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows
| Design Constraint Dimension |  |  |  |  | 50 |  | ft |  |  | 12 | [12 empty] | System Depth |  |  | Trench Depth | [6 empty] | Total Number of Chambers Required | 2 | [14 empty] | total storage |  | 0 | 0 | 0 | 0
[12 empty] | in | [51 empty] | Suggested
| Stone Above Chambers (min. 12 inches; max. 96 inches) |  |  |  |  | 12 |  | in | [21 empty] | Try adjusting the number of rows until you are satisfied with the layout. | [19 empty] | 58.716 | totals | 2 | 200.197 | 186.1 | 386.297
[56 empty] | 270 | 1 | 1 | 0 | 193.1485 |  | 0 |  | Minimum Number of Rows |  | Maximum Number of Chambers per Full Row
|  | Stone Below Chambers (min. 9 inches) |  |  |  | 9 |  | in |  |  | SC-44 | [18 empty] | SYSTEM LAYOUT | [8 empty] | L3 | 1 row 1 chamber system |  |  | 2 rows 2 chambers 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R
[10 empty] | Chamber Height | [45 empty] | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
| Total Cover Over Chambers (min. 22 inches; max. 96 inches) |  |  |  |  | 22 |  | in | [21 empty] | Layer Length | 15.3333 | ft | Rows/Chambers | 1 | Row(s) of | 2 | Chambers |  |  | End C End R storage volume w/ stone |  | -39.144 | End C End R storage volume w/ stone |  |  | -78.288 | End C End R storage volume w/ stone |  | 111.66 | stone storage | Min suggested number of rows |  |  |  | 1
[64 empty] | 1 |  | 7
|  | Stone Void (Industry Standard is 40%) |  |  |  | 40 |  | % |  |  | 9 | in | [10 empty] | 8.6667 |  | ft |  |  |  |  | Layer Width | 8.6667 | ft | Rows/Chambers | 0 | Row(s) of | 0 | Chambers |  |  | Additional stone Storage |  | 0 | Additional stone Storage |  |  | 0 | Additional stone Storage |  | 0 | -39.144 | Chosen number of rows |  |  |  | 1
[23 empty] | Minimum Trench Width | [34 empty] | 2 | 0 |  | 2 |  |  | Actual
[30 empty] | Layer Depth | 5.1667 | ft | Layer Installed Storage |  | 386.297 |  | Cubic Feet |  |  | total storage |  | 58.716 | total storage |  |  | 19.572 | total storage |  | 111.66 | additional stone | Max number of chambers per Row |  |  |  | 2
[56 empty] | Volume of full end Row | Volume of Full Mid Row | Number of full rows | Number of full middle rows |  |  |  |  | Number of Rows |  | Number of Chambers per Full Row
|  | Desired Number of Layers |  |  |  | 1 | [7 empty] | 15.3333 |  |  | ft | Minimum Trench Length | [14 empty] | Total Chambers in Layer |  | 2 | [14 empty] | 0 | Number of Full Rows |  |  |  | 1
|  | Space Between each Layer (min. 12 Inches) |  |  |  | 6 |  | in | [41 empty] | total storage | Are there Rows with more chambers than other rows |  |  |  | no
[56 empty] | 386.297 | 0 | 1 | 0 |  |  |  |  | 1 |  | 2
|  | Number of Rows Desired |  |  |  | 1 | [23 empty] | NO LAYER | [19 empty] | 58.716 | Total Layer Storage Volume |  |  |  | 386.297
[56 empty] | Remaining Volume for Partial Row | Number of Partial Row End Chambers | Number of Partial Row Middle Chambers | Total Number of Chambers per Partial Row |  |  |  |  | Number of Full Rows |  | N/A
| Minimum Number of Rows Based on Constraint Dimension |  |  |  |  | 1 | [10 empty] | Total Chamber Storage Volume |  | 186.1 |  | Cubic Feet | [8 empty] | Layer Length | 0 | ft | Rows/Chambers | 0 | Row(s) of | 0 | Chambers |  | L4 | 1 row 1 chamber system |  |  | 2 rows 2 chambers 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R | Length of chamber row |  |  |  | 15.3333
|  | Space Between Each Row (min. 9 inches) |  |  |  | 6 |  | in | [8 empty] | Total Stone Storage Volume |  | 200.197 |  | Cubic Feet | [8 empty] | Layer Width | 0 | ft | Rows/Chambers | 0 | Row(s) of | 0 | Chambers |  |  | End C End R storage volume w/ stone |  | -39.144 | End C End R storage volume w/ stone |  |  | -78.288 | End C End R storage volume w/ stone |  | 111.66 | stone storage | Width of all chamber rows |  |  |  | 8.6667
[56 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 2 |  | 0
|  | Number of SedimenTraps Desired |  |  |  | 0 | [10 empty] | Installed System Storage Volume |  | 386.297 |  | Cubic Feet | [8 empty] | Layer Depth | 0 | ft | Layer Installed Storage |  | 0 |  | Cubic Feet |  |  | Additional stone Storage |  | 0 | Additional stone Storage |  |  | 0 | Additional stone Storage |  | 0 | -39.144 | Total Stone Storage | 200.197 | Total Chamber Storage |  | 186.1
|  | Minimum Suggested Number of SedimenTraps (per inflow row) |  |  |  | 1 | [10 empty] | Minimum Internal Storage of a Chamber |  | 88 |  | Cubic Feet | [11 empty] | Total Chambers in Layer |  | 0 |  |  |  |  | total storage |  | 58.716 | total storage |  |  | 19.572 | total storage |  | 111.66 | additional stone | 0
[56 empty] | Number of mid Chambers per short row | Total number of chambers per short row | Volume of end chambers in all Rs by min C per R | volume of mid chambers in all Rs by min C per R | total volume of all Rs by the min number of chambers per Row |  | remaining volume
|  | Do you need impervious liner to restrict infiltration? |  |  |  | no | [10 empty] | Minimum Installed Storage with stone |  | 144.1352 |  | Cubic Feet | [20 empty] | Installed Storage of S/E C in MR w/out border | border storage in S/E C in MR | [6 empty] | 0 | total chambers |  |  |  | 2
|  | Number of Inflow Rows |  |  |  | 1 | [10 empty] | Total Number of Chambers Required |  | 2 |  | Total # | [8 empty] | NO LAYER | [19 empty] | total storage
[56 empty] | 0 | 1 | 224.3938 | 0 | 224.3938 |  | 45.6062
|  |  |  | Perimeter stone border size 12 Inches |  | 12 |  | in | [21 empty] | Layer Length | 0 | ft | Rows/Chambers | 0 | Row(s) of | 0 | Chambers |  | Imperial |  | 179.84 | 154.5707 | 14.8111 | 8.6972 | 8.6111 | 7.9653 |  |  | 153.6935 | 58.716 | eCeR storage volume area of width-height |  |  | 3404.633
[56 empty] | number of end rows in remaining volume | Number of middle rows in remaining volume
| Do you want to Include the Perimeter Stone Storage when Calculating the number of chambers? |  |  |  |  | yes | [20 empty] | 0 |  |  | Layer Width | 0 | ft | No rows in this layer are shorter or longer than any other rows. | [5 empty] | All Chamber Layers |  | Start and End Chamber |  |  |  |  | Middle Chamber |  |  |  |  | eCeR Storage volume area of length-height |  |  | 3297.1183 |  |  |  | max number of rows | 1 | aka chosen number of rows
[41 empty] | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total
[30 empty] | Layer Depth | 0 | ft | Layer Installed Storage |  | 0 |  | Cubic Feet |  | SC-44 | [11 empty] | eCmR storage volume area of width-height |  |  | 3181.433 |  |  |  | number of extra Ch | 1 | aka number of rows with max number of chambers
[56 empty] | 1 | 0
| Trench depths beyond the range suggested may be achievable. For assistance please contact us at 571-521-9538 | [9 empty] | 22 | Inches | [20 empty] | Total Chamber in Layer |  | 0 |  |  |  |  | Height (in) | 41 | 62 | 62 |  |  | 41 | 62 | 62 |  |  | eCmR Storage volume area of length-height |  |  | 3403.3935 |  |  |  | number of short rows | 0 |  | -274.5253
[40 empty] | Width (in) | 80 | 95 | 86 |  |  | 80 | 95 | 86 | [9 empty] | min C per row | 0 |  | -1.9046
[30 empty] | NO LAYER | [9 empty] | Installed Length (in) | 80 | 92 | 92 |  |  | 74 | 74 | 74 |  |  | mCeR storage volume area of width-height |  |  | 3588.9514 |  |  |  | max C per row | 2
[30 empty] | Layer Length | 0 | ft | Rows/Chambers | 0 | Row(s) of | 0 | Chambers |  |  | Storage Volume (ft²) | 93.05 | 88.2152 | 76.3319 | 181.2652 | 169.3819 | 88 | 65.6935 | 56.1352 | 153.6935 | 144.1352 | mCeR storage volume area of length-height |  |  | 2795.6042
The Space Between Rows should be at least 9 inches
[22 empty] | 30 | Inches | [6 empty] | Layer Width | 0 | ft | No rows in this layer are shorter or longer than any other rows. | [5 empty] | spatial volume of C and stone: Storage V/c.in. |  |  | 541880 | 490544 | 0.57804 | 0.59667 |  | 435860 | 394568 | 0.60933 | 0.63124 | mCmR storage volume area of width-height |  |  | 3365.7514
|  | The Input Number of SedimenTraps does not match the Suggested Number of SedimenTraps. Not using the suggested number could result in Calculation Errors. | [13 empty] | 6 | Inches
[23 empty] | 24 Inches | [6 empty] | Layer Depth | 0 | ft | Layer Installed Storage |  | 0 |  | Cubic Meters |  |  |  | Start and End Chamber |  |  |  |  | Middle Chamber |  |  |  |  | mCmR storage volume area of length-height |  |  | 2896.1116
[41 empty] | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total
[33 empty] | Total Chamber in Layer |  | 0
[26 empty] | 47 Inches | [13 empty] | Height (in) | 41 | 0 | 0 |  |  | 41 | 0 | 0 |  |  | Imperial (inches and ft) | by system length |  |  |  | Layer 2 Calculation check
[15 empty] | Minimum Trench Length |  |  | 15.3333 |  | ft | [13 empty] | Minimum Trench Length | 15.3333 |  | ft |  |  | Width (in) | 80 | 95 | 86 |  |  | 80 | 95 | 86 |  |  | total end-row end-chamber volumes | Number of chambers | stone | chamber | total | (Using Dimension Constraints)
[65 empty] | width of suggested rows | length of sugested number of C per R
[15 empty] | Minimum Trench Width |  |  | 8.6667 |  | ft | [13 empty] | Minimum Trench Width | 8.6667 |  | ft |  |  | Installed Length (in) | 80 | 92 | 92 |  |  | 74 | 74 | 74 |  |  |  | 0 | 0 | 0 | 0 | Required Cubic Feet | Required Cubic Inches | Constraint Dimension (Length) | (Constriant Length-2endC length)/midC length |  | RoundDown for Maximum Number of midCs per Row |  | Maximum Number of Chambers per Row
[51 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | 8.6667 | 9.25
[15 empty] | System Depth |  |  | 5.1667 |  | ft | [13 empty] | System Depth | 5.1667 |  | ft |  |  | Storage Volume (ft²) | 93.05 | -37.22 | -37.22 | 55.83 | 55.83 | 88 | -35.2 | -35.2 | 52.8 | 52.8 | [5 empty] | 0 | 0 | 0 | -2.4865 |  | 0 |  | 1
[15 empty] | Trench Depth |  |  | 6 |  | ft | [13 empty] | Trench Depth | 6 |  | ft | [14 empty] | 0 | 0 | 0 | 0
[15 empty] | Minimum Bed Size Required |  |  | 132.8889 |  | Square Feet | [13 empty] | Minimum Bed Size Required | 132.8889 |  | Square Feet |  | spatial volume of C and stone: Storage V/c.in. |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
[9 empty] | OTHER SYSTEM COMPONENTS | [19 empty] | OTHER SYSTEM COMPONENTS | [11 empty] | Start and End Chamber |  |  |  |  | Middle Chamber | [5 empty] | 0 | 0 | 0 | 0 | number of endCs per fullR*endRendCvolumes | Max number of midC per fullR*endRmidC Volume |  | Number of End Rows | min number of rows suggested |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
[41 empty] | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | total full middle-row middle-chamber volumes | Number of chambers | stone | chamber | total
[15 empty] | Minimum Amount of Stone Required |  | 18.5368 |  |  | Cubic Yards | 3/4" - 2" crushed, washed, ANGULAR stone. | [12 empty] | Minimum Amount of Stone Required | 18.5368 |  | Cubic Yards | [14 empty] | 0 | 0 | 0 | 0 | 58.716 | 0 |  | 1 | 1
[15 empty] | Volume of Excavation (not including fill) |  | 25.4294 |  |  | Cubic Yards | [11 empty] | (3/4" - 2" crushed, washed, ANGULAR stone or concrete only) | [7 empty] | Height (in) | 44 | 0 | 0 |  |  | 44 | 0 | 0 |  |  | totals | 0 | 0 | 0 | 0
[15 empty] | Non-woven Filter Fabric Required |  | 106.958 |  |  | Square Yards | [13 empty] | Volume of Excavation (not including fill) | 25.4294 |  | Cubic Yards | [18 empty] | note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
[15 empty] | Stabilization Fabric |  |  | 1 |  | Pieces | [13 empty] | Non-woven Filter Fabric Required | 106.958 |  | Square Yards |  |  | Width (in) | 80 | 95 | 86 |  |  | 80 | 95 | 86 |  |  | Max suggested number of rows |  |  |  | 0 | Required Storage | Default Number of Rows | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows |  | Suggested
[15 empty] | Impervious Liner |  | 0 |  |  | Square Yards | [13 empty] | Stabilization Fabric | 1 |  | Pieces |  |  | Installed Length (in) | 80 | 92 | 92 |  |  | 74 | 74 | 74 |  |  | Default number of rows |  |  |  | 0
[34 empty] | Impervious Liner | 0 |  | Square Yards |  |  | Storage Volume (ft²) | 93.05 | -37.22 | -37.22 | 55.83 | 55.83 | 88 | -35.2 | -35.2 | 52.8 | 52.8 | Max number of chambers per Row |  |  |  | 0 | [8 empty] | Minimum Number of Rows |  | Maximum Number of Chambers per Full Row
[39 empty] | spatial volume of C and stone: Storage V/c.in. |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | Number of Full Rows |  |  |  | 0 | 0 | 0 | 2 | 0 | 19.572 |  | 0
[41 empty] | Start and End Chamber |  |  |  |  | Middle Chamber |  |  |  |  | Are there Rows with more chambers than other rows |  |  |  | no | [8 empty] | 1 |  | 1
[41 empty] | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Total Layer Storage Volume |  |  |  | 0 | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
[51 empty] | Length of chamber row |  |  |  | 0 | [8 empty] | Actual
[51 empty] | Width of all chamber rows |  |  |  | 0
[40 empty] | Height (in) | 44 | 0 | 0 |  |  | 44 | 0 | 0 |  |  | Total Stone Storage | 0 | Total Chamber Storage |  | 0 |  |  | 1 | 0 |  | 1 |  |  | Number of Rows |  | Number of Chambers per Full Row
[40 empty] | Width (in) | 80 | 95 | 86 |  |  | 80 | 95 | 86 |  |  |  | total chambers |  |  | 0 | Volume of full end Row | Volume of Full Mid Row | number of full rows | number of full middle rows |  |  |  |  | 0 |  | 1
[40 empty] | Installed Length (in) | 80 | 92 | 92 |  |  | 74 | 74 | 74
[40 empty] | Storage Volume (ft²) | 93.05 | -37.22 | -37.22 | 55.83 | 55.83 | 88 | -35.2 | -35.2 | 52.8 | 52.8 | eCeR storage volume area of width-height |  |  | 1048.633 | [9 empty] | Number of Full Rows |  | Number of chambers in partial row
[13 empty] | REV 07 19 23 BT | [25 empty] | spatial volume of C and stone: Storage V/c.in. |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | eCeR Storage volume area of length-height |  |  | 1015.5183 |  | 19.572 | 0 | 0 | 0
[51 empty] | eCmR storage volume area of width-height |  |  | 1048.633 | [9 empty] | 0 |  | 0
[39 empty] | SedimenTrap |  | Installed Height (in) | Width (in) | Storage Width (in) | Length (in) | Storage Volume (ft²) |  |  | Total System Dimensions |  |  | eCmR Storage volume area of length-height |  |  | 1121.7935 |  | Number of Sedimentraps (aka number of short rows) | Number of full rows | number of chambers in short rows | number of middle chambers in short row
[51 empty] | mCeR storage volume area of width-height |  |  | 1232.9514
[41 empty] | 44 | 47 | 36 | 36 | 16.92 |  |  | Length | Width | Depth | mCeR storage volume area of length-height |  |  | 960.4042 |  | 0 | 0 | 0 | 0
[51 empty] | mCmR storage volume area of width-height |  |  | 1232.9514
[40 empty] | 686.5926 | [7 empty] | 15.3333 | 8.6667 | 0.062 | mCmR storage volume area of length-height |  |  | 1060.9116
[45 empty] | -35.3921 | [12 empty] | number of sedimentraps | 0
[48 empty] | total chambers | [9 empty] | max number of rows | 0 | aka chosen number of rows
[41 empty] | 8.2391 | -177.8609 | [15 empty] | number of full rows | 0 | aka number of rows with max number of chambers
[48 empty] | start/end | middle | [8 empty] | number of R with min C | 0
[58 empty] | min C per row | 0
[41 empty] | 857 | [5 empty] | total volume | 2 | 0 | [8 empty] | max C per row | 0
[40 empty] | min stone below | 9 |  | 32.7222 | 24.0681 | 3.4875 | 63.7653 | 245.0305 | 186.1 | 0
[58 empty] | are there more than 15 rows | no | aka, is the inflow row above greater than 125ft |  | resulting number of sedimentraps
[43 empty] | 24.5417 | 15.5 | 3.4875 | 87.0583 | 209.6383 | [14 empty] | 1
[58 empty] | are there less than 4 R | yes | aka are there less that 4 chambers in the inflow row above
[40 empty] | min stone above | 12
[40 empty] | max stone above | 96
[40 empty] | min average cover | 22
[40 empty] | max average cover | 96
[42 empty] | space between layers | 12 | [7 empty] | Imperial (inches and ft) | by system length |  |  |  | Layer 3 Calculation check
[40 empty] | space between rows | 9 | [9 empty] | total end-row end-chamber volumes | Number of chambers | stone | chamber | total
[40 empty] | Cubic Yards | system spatial volume | chambers internal volume | stone spatial volume | [12 empty] | (Using Dimension Constraints)
[40 empty] | 1 layer | 25.4294 | 6.8926 | 18.5368 | [21 empty] | width of suggested rows | length of sugested number of C per R
|  |  |  | 18 |  | 34 | 44 | [44 empty] | 0 | 0 | 0 | 0 | Required Cubic Feet | Required Cubic Inches | Constraint Dimension (Length) | (Constriant Length-2endC length)/midC length |  | RoundDown for Maximum Number of midCs per Row |  | Maximum Number of Chambers per Row
|  |  | stone below min | 6 |  | 6 | 9 | [32 empty] | 2 layers | [10 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | 8.6667 | 9.25
|  |  | stone below max | 96 |  | 96 | 96 | [32 empty] | layer 2 | 0 | 0 | 0 | [12 empty] | 0 | 0 | 0 | -2.4865 |  | 0 |  | 1
[40 empty] | total layers | 25.4294 | 6.8926 | 18.5368
|  |  | cover min | 18 |  | 18 | 22 | [44 empty] | 0 | 0 | 0 | 0 | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
|  |  | cover max | 192 |  | 192 | 96 | [32 empty] | 3 layers | [10 empty] | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total
[40 empty] | layer 3 | 0 | 0 | 0 | [12 empty] | number of endCs per fullR*endRendCvolumes | Max number of midC per fullR*endRmidC Volume |  | Number of End Rows | min number of rows suggested |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
|  |  | space between layer | 12 |  | 12 | 12 | [32 empty] | total layers | 25.4294 | 6.8926 | 18.5368
[52 empty] | 0 | 0 | 0 | 0
|  |  | L1 min | 42 | 0 | 58 | 75 | [43 empty] | total middle-row middle-chamber volumes | Number of chambers | stone | chamber | total | 58.716 | 0 |  | 1 | 1
|  |  | max | 306 | 0 | 322 | 236
|  |  | L2 min | 72 | 0 | 104 | 131 | [48 empty] | note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
|  |  | max | 336 | 0 | 368 | 292 | [44 empty] | 0 | 0 | 0 | 0 | Required Storage | Chosen Number of Rows | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows |  | Suggested
|  |  | L3 min | 102 | 0 | 150 | 187 | [43 empty] | totals | 0 | 0 | 0 | 0
|  |  | max | 366 | 0 | 414 | 348 | [56 empty] | Minimum Number of Rows |  | Maximum Number of Chambers per Full Row
[40 empty] | Length | [10 empty] | Min suggested number of rows |  |  |  | 0 | 0 | 0 | 2 | 0 | 19.572 |  | 0
|  |  |  | 457 |  | 864 | 1117 | [33 empty] | 1 row 1 chamber system |  | 2 rows 2 chambers, 1 chamber per row |  | 1 row 2 chambers | [5 empty] | Default number of rows |  |  |  | 0 | [8 empty] | 1 |  | 1
|  |  | stone below min | 150 |  | 150 | 225 | [33 empty] | Imperial | Metric | Imperial | Metric | Imperial | Metric |  |  |  |  | Max number of chambers per Row |  |  |  | 0 | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
|  |  | stone below max | 2400 |  | 2400 | 2400 | [32 empty] | SC-18 | 101 | 2565.4 | 101 | 2565.4 | [6 empty] | Number of Full Rows |  |  |  | 0 | [8 empty] | Actual
[40 empty] | SC-34E | 103 | 2616.2 | 103 | 2616.2 | [6 empty] | Total Layer Storage Volume (no perimeter) |  |  |  | 0
|  |  | cover min | 450 |  | 450 | 550 | [32 empty] | SC-44 | 87 | 2209.8 | 87 | 2209.8 | [6 empty] | Length of chamber row |  |  |  | 0 |  |  | 1 | 0 |  | 1 |  |  | Number of Rows |  | Number of Chambers per Full Row
|  |  | cover max | 4875 |  | 4875 | 2435 | [43 empty] | Width of all chamber rows |  |  |  | 0
[51 empty] | Total Stone Storage | 0 | Total Chamber Storage |  | 0 | [8 empty] | 0 |  | 1
|  |  | space between layers | 300 |  | 300 | 300 | [32 empty] | Volume | [15 empty] | number of rows |  | 0
[41 empty] | 1 row 1 chamber system |  | 2 rows 2 chambers, 1 chamber per row |  | 1 row 2 chambers | [6 empty] | total chambers |  |  | 0 | number of chambers per row |  | 1
|  |  | L1 min | 1057 |  | 1464 | 1892 | [33 empty] | Imperial | Metric | Imperial | Metric | Imperial | Metric
|  |  | max | 7732 |  | 8139 | 5952 | [32 empty] | SC-18 | 23.64 | 0.66943 | [8 empty] | eCeR storage volume area of width-height |  |  | 1048.633
|  |  | L2 min | 1814 |  | 2628 | 3309 | [32 empty] | SC-34E | 82.4 | 2.3334 | [8 empty] | eCeR Storage volume area of length-height |  |  | 1015.5183
|  |  | max | 8489 |  | 9303 | 7369 | [32 empty] | SC-44 | 97.86 | 2.7712 | [8 empty] | eCmR storage volume area of width-height |  |  | 1048.633
|  |  | L3 min | 2571 |  | 3792 | 4726 | [43 empty] | eCmR Storage volume area of length-height |  |  | 1121.7935
|  |  | max | 9246 |  | 10467 | 8786
[42 empty] | Start and End Chamber | Middle Chamber | [7 empty] | mCeR storage volume area of width-height |  |  | 1232.9514
[40 empty] | SC-18 | Height (in) | 18 | 18 | [7 empty] | mCeR storage volume area of length-height |  |  | 960.4042
[40 empty] | SC-18 | Width (in) | 38 | 38 | [7 empty] | mCmR storage volume area of width-height |  |  | 1232.9514
[40 empty] | SC-18 | Installed Length (in) | 96 | 91.25 | [7 empty] | mCmR storage volume area of length-height |  |  | 1060.9116
[40 empty] | SC-18 | Storage Volume (ft²) | 22.47 | 21.36
[51 empty] | Imperial (inches and ft) | by system length |  |  |  | Layer 4 Calculation check
[51 empty] | total end-row end-chamber volumes | Number of chambers | stone | chamber | total
[40 empty] | SC-34E | Height (in) | 34 | 34 | [12 empty] | (Using Dimension Constraints)
[40 empty] | SC-34E | Width (in) | 60 | 60 | [21 empty] | width of suggested rows | length of sugested number of C per R
[40 empty] | SC-34E | Installed Length (in) | 97 | 91 | [8 empty] | 0 | 0 | 0 | 0 | Required Cubic Feet | Required Cubic Inches | Constraint Dimension (Length) | (Constriant Length-2endC length)/midC length |  | RoundDown for Maximum Number of midCs per Row |  | Maximum Number of Chambers per Row
[40 empty] | SC-34E | Storage Volume (ft²) | 77.6 | 72.8 | [7 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | 8.6667 | 9.25
[56 empty] | 0 | 0 | 0 | -2.4865 |  | 0 |  | 1
[40 empty] | SC-44 | Height (in) | 41 | 41 | [8 empty] | 0 | 0 | 0 | 0 | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
[40 empty] | SC-44 | Width (in) | 80 | 80 | [7 empty] | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total
[40 empty] | SC-44 | Installed Length (in) | 80 | 74 | [12 empty] | number of endCs per fullR*endRendCvolumes | Max number of midC per fullR*endRmidC Volume |  | Number of End Rows | min number of rows suggested |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
[40 empty] | SC-44 | Storage Volume (ft²) | 93.05 | 88
[52 empty] | 0 | 0 | 0 | 0
[42 empty] | Start and End Chamber | Middle Chamber | [7 empty] | total middle-row middle-chamber volumes | Number of chambers | stone | chamber | total | 58.716 | 0 |  | 1 | 1
[40 empty] | SC-18 | Height (mm) | 457 | 457
[40 empty] | SC-18 | Width (mm) | 965.2 | 965.2 | [12 empty] | note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
[40 empty] | SC-18 | Installed Length (mm) | 2438.4 | 2317.75 | [8 empty] | 0 | 0 | 0 | 0 | Required Storage | Chosen Number of Rows | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows |  | Suggested
[40 empty] | SC-18 | Storage Volume (m²) | 0.64 | 0.6 | [7 empty] | totals | 0 | 0 | 0 | 0
[64 empty] | Minimum Number of Rows |  | Maximum Number of Chambers per Full Row
[51 empty] | Min suggested number of rows |  |  |  | 0 | 0 | 0 | 2 | 0 | 19.572 |  | 0
[40 empty] | SC-34E | Height (mm) | 864 | 865 | [7 empty] | Chosen number of rows |  |  |  | 0 | [8 empty] | 1 |  | 1
[40 empty] | SC-34E | Width (mm) | 1524 | 1524 | [7 empty] | Max number of chambers per Row |  |  |  | 0 | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
[40 empty] | SC-34E | Installed Length (mm) | 2463.8 | 2311.4 | [7 empty] | Number of Full Rows |  |  |  | 0 | [8 empty] | Actual
[40 empty] | SC-34E | Storage Volume (m²) | 2.2 | 2.06 | [7 empty] | Total Layer Storage Volume (no perimeter) |  |  |  | 0
[51 empty] | Length of chamber row |  |  |  | 0 |  |  | 1 | 0 |  | 1 |  |  | Number of Rows |  | Number of Chambers per Full Row
[51 empty] | Width of all chamber rows |  |  |  | 0
[40 empty] | SC-44 | Height (mm) | 1041.4 | 1041.4 | [7 empty] | Total Stone Storage | 0 | Total Chamber Storage |  | 0 | [8 empty] | 0 |  | 1
[40 empty] | SC-44 | Width (mm) | 2032 | 2032 | [12 empty] | number of rows |  | 0
[40 empty] | SC-44 | Installed Length (mm) | 2032 | 1879.6 | [8 empty] | total chambers |  |  | 0 | number of chambers per row |  | 1
[40 empty] | SC-44 | Storage Volume (m²) | 2.635 | 2.492
Stone
Stone Layer Below
Stone Layer Above
Additional Cover Above System
STORMCHAMBER SYSTEM
Design calculator is for initial estimation or conceptual purposes.
Let NDS Designworx provide a complete system layout free of charge.
Stone

## Sheet1 (hidden)
|  |  | note: Calculations assume both end rows have the max number of chambers per row due to these rows having the least stone storage space. |  |  |  |  | note: Calculations assume chambers will be distributed between rows as evenly as possible. |  |  |  | not: F49 is the number of rows | [5 empty] | layer constraint dimension | 1st layer | 2nd layer | 3rd layer | 4th layer | do constraints apply? (yes=1,no=2) | max/min suggested number of rows for bottom layer
| #VALUE! | [7 empty] | bottom layer constraint direction |  |  | note: F9 is unit type | [5 empty] | width is 1 length is 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | Length
| #REF! | [7 empty] | #REF! |  |  | note: F11 is required storage | [16 empty] | 1 row 1 chamber system |  | 2 rows 2 chambers, 1 chamber per row |  | 1 row 2 chambers
| 1 row 1 chamber system |  |  | 2 rows 2 chambers, 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R | note: F25 is direction of constraint (W or L) |  |  |  |  | Layer 1 Calculation check | [11 empty] | Imperial | Metric | Imperial | Metric | Imperial | Metric
| chamber length |  | 89.8 | full chamber length |  |  | #REF! | single chamber length |  | #REF! | stone storage | note: F27 is dimension of constraint | [15 empty] | SC-18 | 101 | 2565.4 | 101 | 2565.4
[17 empty] | (Using Dimension Constraints) | [10 empty] | SC-34E | 103 | 2616.2 | 103 | 2616.2
| full chamber volume |  | 112.19 | volume of both chambers |  |  | 224.38 | volume of both chambers |  | #REF! | #REF! | Confirming System Calculations | [13 empty] | width of suggested rows | length of sugested number of C per R | SC-44 | 89.8 | 2273.3 | 89.5 | 2273.3
[17 empty] | Required Cubic Meters | Required Cubic mm | #REF! | #REF! |  | #REF! |  | #REF! | #REF!
L1 | stone storage |  | IF(H15="Imperial", (((((BY5+H55)*(BX63+H55+(H45/2))*BY61)/1728)-BY7)*(H33/100)), (((((BY5+H55)*(BX63+H55+(H45/2))*BY61)/1000000000)-BY7)*(H33/100))) | stone storage |  |  | #VALUE! | End C End R storage volume w/ stone (2x) |  | #REF! | additional stone | Metric (mm and meters) | #REF!
[12 empty] | total end-row end-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | #REF! | #REF! | Volume
| Additional stone Storage |  | #REF! | Additional stone Storage |  |  | #REF! | Additional stone Storage |  | #REF! | #REF! | [17 empty] | 1 row 1 chamber system |  | 2 rows 2 chambers, 1 chamber per row |  | 1 row 2 chambers
[17 empty] | #REF! | #REF! | #REF! | #REF! |  | #REF! |  | #REF! | #REF! |  |  |  | Imperial | Metric | Imperial | Metric | Imperial | Metric
| total storage |  | #VALUE! | total storage |  |  | #VALUE! | total storage |  | #REF! | total storage |  | #REF! | #REF! | #REF! | #REF! | [11 empty] | SC-18 | 23.64 | 0.67
[12 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints. | [10 empty] | SC-34E | 82.4 | 2.33
[11 empty] | #REF! | [16 empty] | SC-44 | 112.19 | 3.18
[17 empty] | #REF! | #REF! |  | #REF! | #REF! |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
L2 | 1 row 1 chamber system |  |  | 2 rows 2 chambers 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R |  | #REF! | #REF! | #REF! | #REF!
[11 empty] | stone storage | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total
| End C End R storage volume w/ stone |  | #REF! | End C End R storage volume w/ stone |  |  | #REF! | End C End R storage volume w/ stone |  | #REF! | #REF!
[17 empty] | #REF! | #REF! |  | #REF! | #REF!
| Additional stone Storage |  | #REF! | Additional stone Storage |  |  | #REF! | Additional stone Storage |  | #REF! | additional stone |  | #REF! | #REF! | #REF! | #REF!
[12 empty] | total full middle-row middle-chamber volumes | Number of chambers | stone | chamber | total | note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
| total storage |  | #REF! | total storage |  |  | #REF! | total storage |  | #REF! | #REF!
[17 empty] | Required Storage | #REF! | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows
[11 empty] | total storage |  | #REF! | #REF! | #REF! | #REF!
Suggested
[11 empty] | #REF! | totals | #REF! | #REF! | #REF! | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! |  | #REF! |  | #REF!
L3 | 1 row 1 chamber system |  |  | 2 rows 2 chambers 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R
[17 empty] | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
| End C End R storage volume w/ stone |  | #REF! | End C End R storage volume w/ stone |  |  | #REF! | End C End R storage volume w/ stone |  | #REF! | stone storage | #REF! |  |  |  | #REF!
[25 empty] | #REF! |  | #REF!
| Additional stone Storage |  | #REF! | Additional stone Storage |  |  | #REF! | Additional stone Storage |  | #REF! | #REF! | #REF! |  |  |  | #REF!
[19 empty] | #REF! | #REF! |  | #REF! |  |  | Actual
| total storage |  | #REF! | total storage |  |  | #REF! | total storage |  | #REF! | additional stone | #REF! |  |  |  | #REF!
[17 empty] | Volume of full end Row | Volume of Full Mid Row | Number of full rows | Number of full middle rows |  |  |  |  | Number of Rows |  | Number of Chambers per Full Row
[11 empty] | #REF! | Number of Full Rows |  |  |  | #REF!
[11 empty] | total storage | Are there Rows with more chambers than other rows |  |  |  | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | #REF! |  | #REF!
[11 empty] | #REF! | Total Layer Storage Volume |  |  |  | #REF!
[17 empty] | Remaining Volume for Partial Row | Number of Partial Row End Chambers | Number of Partial Row Middle Chambers | Total Number of Chambers per Partial Row |  |  |  |  | Number of Full Rows |  | #REF!
L4 | 1 row 1 chamber system |  |  | 2 rows 2 chambers 1 chamber per row |  |  |  | 1 row 2 chambers |  |  | MREC 1C/R | Length of chamber row |  |  |  | #REF!
| End C End R storage volume w/ stone |  | #REF! | End C End R storage volume w/ stone |  |  | #REF! | End C End R storage volume w/ stone |  | #REF! | stone storage | Width of all chamber rows |  |  |  | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | #REF! |  | #REF!
| Additional stone Storage |  | #REF! | Additional stone Storage |  |  | #REF! | Additional stone Storage |  | #REF! | #REF! | Total Stone Storage | #REF! | Total Chamber Storage |  | #REF!
| total storage |  | #REF! | total storage |  |  | #REF! | total storage |  | #REF! | additional stone | #REF!
[17 empty] | Number of mid Chambers per short row | Total number of chambers per short row | Volume of end chambers in all Rs by min C per R | volume of mid chambers in all Rs by min C per R | total volume of all Rs by the min number of chambers per Row |  | remaining volume
|  |  | Installed Storage of S/E C in MR w/out border | border storage in S/E C in MR | [6 empty] | #REF! | total chambers |  |  |  | #REF!
total storage
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF!
Metric |  | 179.84 | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | eCeR storage volume area of width-height |  |  | #REF!
[17 empty] | number of end rows in remaining volume | Number of middle rows in remaining volume
All Chamber Layers |  | Start and End Chamber |  |  |  |  | Middle Chamber |  |  |  |  | eCeR Storage volume area of length-height |  |  | #REF! |  |  |  | max number of rows | #REF! | aka chosen number of rows
|  | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total
#REF! | [11 empty] | eCmR storage volume area of width-height |  |  | #REF! |  |  |  | number of extra Ch | #REF! | aka number of rows with max number of chambers
[17 empty] | #REF! | #REF!
| Height (mm) | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! |  |  | eCmR Storage volume area of length-height |  |  | #REF! |  |  |  | number of short rows | #REF! |  | #REF!
| Width (mm) | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! | [9 empty] | min C per row | #REF! |  | #REF!
| Installed Length (mm) | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! |  |  | mCeR storage volume area of width-height |  |  | #REF! |  |  |  | max C per row | #REF!
| Storage Volume (m²) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | mCeR storage volume area of length-height |  |  | #REF!
spatial volume of C and stone: Storage V/c.in. |  |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | mCmR storage volume area of width-height |  |  | #REF!
|  | Start and End Chamber |  |  |  |  | Middle Chamber |  |  |  |  | mCmR storage volume area of length-height |  |  | #REF!
|  | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total
| Height (mm) | #REF! | 0 | 0 |  |  | #REF! | #REF! | #REF! |  |  | Metric (mm and meters) | #REF! |  |  |  | Layer 2 Calculation check
| Width (mm) | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! |  |  | total end-row end-chamber volumes | Number of chambers | stone | chamber | total | (Using Dimension Constraints)
[26 empty] | width of suggested rows | length of sugested number of C per R
| Installed Length (mm) | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! |  |  |  | #REF! | #REF! | #REF! | #REF! | Required Cubic Meters | Required Cubic mm | #REF! | #REF! |  | #REF! |  | #REF!
[12 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | #REF! | #REF!
| Storage Volume (m²) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | #REF! | #REF! | #REF! | #REF! |  | #REF! |  | #REF!
[13 empty] | #REF! | #REF! | #REF! | #REF!
spatial volume of C and stone: Storage V/c.in. |  |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
|  | Start and End Chamber |  |  |  |  | Middle Chamber | [5 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
|  | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | total full middle-row middle-chamber volumes | Number of chambers | stone | chamber | total
[13 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
| Height (mm) | #REF! | 0 | 0 |  |  | #REF! | 0 | 0 |  |  | totals | #REF! | #REF! | #REF! | #REF!
note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
| Width (mm) | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! |  |  | #REF! |  |  |  | #REF! | Required Storage | #REF! | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows |  | Suggested
| Installed Length (mm) | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! |  |  | #REF! |  |  |  | #REF!
| Storage Volume (m²) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  | #REF! | [8 empty] | #REF! |  | #REF!
spatial volume of C and stone: Storage V/c.in. |  |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | Number of Full Rows |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF!
|  | Start and End Chamber |  |  |  |  | Middle Chamber |  |  |  |  | Are there Rows with more chambers than other rows |  |  |  | #REF! | [8 empty] | #REF! |  | #REF!
|  | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Chamber | end row stone | Middle row Stone | End row total | Middle row Total | Total Layer Storage Volume |  |  |  | #REF! | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
[12 empty] | Length of chamber row |  |  |  | #REF! | [8 empty] | Actual
[12 empty] | Width of all chamber rows |  |  |  | #REF!
| Height (mm) | #REF! | 0 | 0 |  |  | #REF! | 0 | 0 |  |  | Total Stone Storage | #REF! | Total Chamber Storage |  | #REF! |  |  | #REF! | #REF! |  | #REF! |  |  | Number of Rows |  | Number of Chambers per Full Row
| Width (mm) | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! |  |  |  | total chambers |  |  | #REF! | Volume of full end Row | Volume of Full Mid Row | number of full rows | number of full middle rows |  |  |  |  | #REF! |  | #REF!
| Installed Length (mm) | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF!
| Storage Volume (m²) | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | eCeR storage volume area of width-height |  |  | #REF! | [9 empty] | Number of Full Rows |  | Number of chambers in partial row
spatial volume of C and stone: Storage V/c.in. |  |  | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | eCeR Storage volume area of length-height |  |  | #REF! |  | #REF! | #REF! | #REF! | #REF!
[12 empty] | eCmR storage volume area of width-height |  |  | #REF! | [9 empty] | #REF! |  | #REF!
SedimenTrap |  | Installed Height (mm) | Width (mm) | Storage Width (mm) | Length (mm) | Storage Volume (m²) |  |  | Total System Dimensions |  |  | eCmR Storage volume area of length-height |  |  | #REF! |  | Number of Sedimentraps (aka number of short rows) | Number of full rows | number of chambers in short rows | number of middle chambers in short row
[12 empty] | mCeR storage volume area of width-height |  |  | #REF!
|  | 1117 | 1194 | 914 | 914 | 0.48 |  |  | Length | Width | Depth | mCeR storage volume area of length-height |  |  | #REF! |  | #REF! | #REF! | #REF! | #REF!
[12 empty] | mCmR storage volume area of width-height |  |  | #REF!
| #REF! | [7 empty] | #REF! | #REF! | #REF! | mCmR storage volume area of length-height |  |  | #REF!
[6 empty] | #REF! | [12 empty] | number of sedimentraps | #REF!
[9 empty] | total chambers | [9 empty] | max number of rows | #REF! | aka chosen number of rows
|  | #REF! | #REF! | [15 empty] | number of full rows | #REF! | aka number of rows with max number of chambers
[9 empty] | start/end | middle | [8 empty] | number of R with min C | #REF!
[19 empty] | min C per row | #REF!
|  | 857 | [5 empty] | total volume | #REF! | #REF! | [8 empty] | max C per row | #REF!
| min stone below | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[19 empty] | are there more than 15 rows | #REF! | aka, is the inflow row above greater than 125ft |  | resulting number of sedimentraps
|  |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | [14 empty] | #REF!
[19 empty] | are there less than 4 R | #REF! | aka are there less that 4 chambers in the inflow row above
| min stone above | #REF!
| max stone above | #REF!
| min average cover | #REF!
| max average cover | #REF!
|  |  | space between layers | #REF! | [7 empty] | Metric (mm and meters) | #REF! |  |  |  | Layer 3 Calculation check
| space between rows | #REF! | [9 empty] | total end-row end-chamber volumes | Number of chambers | stone | chamber | total
| #REF! | system spatial volume | chambers internal volume | stone spatial volume | [12 empty] | (Using Dimension Constraints)
| 1 layer | #REF! | #REF! | #REF! | [21 empty] | width of suggested rows | length of sugested number of C per R
[13 empty] | #REF! | #REF! | #REF! | #REF! | Required Cubic Meters | Required Cubic mm | #REF! | #REF! |  | #REF! |  | #REF!
| 2 layers | [10 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | #REF! | #REF!
| layer 2 | #REF! | #REF! | #REF! | [12 empty] | #REF! | #REF! | #REF! | #REF! |  | #REF! |  | #REF!
| total layers | #REF! | #REF! | #REF!
[13 empty] | #REF! | #REF! | #REF! | #REF! | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
| 3 layers | [10 empty] | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total
| layer 3 | #REF! | #REF! | #REF! | [12 empty] | #REF! | #REF! |  | #REF! | #REF! |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
| total layers | #REF! | #REF! | #REF!
[13 empty] | #REF! | #REF! | #REF! | #REF!
[12 empty] | total middle-row middle-chamber volumes | Number of chambers | stone | chamber | total | #REF! | #REF! |  | #REF! | #REF!
note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
[13 empty] | #REF! | #REF! | #REF! | #REF! | Required Storage | Chosen Number of Rows | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows |  | Suggested
[12 empty] | totals | #REF! | #REF! | #REF! | #REF!
[25 empty] | #REF! |  | #REF!
[12 empty] | #REF! |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF!
[12 empty] | #REF! |  |  |  | #REF! | [8 empty] | #REF! |  | #REF!
[12 empty] | #REF! |  |  |  | #REF! | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
[12 empty] | Number of Full Rows |  |  |  | #REF! | [8 empty] | Actual
[12 empty] | Total Layer Storage Volume (no perimeter) |  |  |  | #REF!
[12 empty] | Length of chamber row |  |  |  | #REF! |  |  | #REF! | #REF! |  | #REF! |  |  | Number of Rows |  | Number of Chambers per Full Row
[12 empty] | Width of all chamber rows |  |  |  | #REF!
[12 empty] | Total Stone Storage | #REF! | Total Chamber Storage |  | #REF! | [8 empty] | #REF! |  | #REF!
[17 empty] | number of rows |  | #REF!
[13 empty] | total chambers |  |  | #REF! | number of chambers per row |  | #REF!
[12 empty] | eCeR storage volume area of width-height |  |  | #REF!
[12 empty] | eCeR Storage volume area of length-height |  |  | #REF!
[12 empty] | eCmR storage volume area of width-height |  |  | #REF!
[12 empty] | eCmR Storage volume area of length-height |  |  | #REF!
[12 empty] | mCeR storage volume area of width-height |  |  | #REF!
[12 empty] | mCeR storage volume area of length-height |  |  | #REF!
[12 empty] | mCmR storage volume area of width-height |  |  | #REF!
[12 empty] | mCmR storage volume area of length-height |  |  | #REF!
[12 empty] | Metric (mm and meters) | #REF! |  |  |  | Layer 4 Calculation check
[12 empty] | total end-row end-chamber volumes | Number of chambers | stone | chamber | total
(Using Dimension Constraints)
[26 empty] | width of suggested rows | length of sugested number of C per R
[13 empty] | #REF! | #REF! | #REF! | #REF! | Required Cubic Meters | Required Cubic mm | #REF! | #REF! |  | #REF! |  | #REF!
[12 empty] | total end-row middle-chamber volumes | Number of chambers | stone | chamber | total | [9 empty] | #REF! | #REF!
[17 empty] | 0 | 0 | #REF! | #REF! |  | #REF! |  | #REF!
[13 empty] | #REF! | #REF! | #REF! | #REF! | note: The Above segment is for determining the number of rows/number of chambers per row dependant on W/L constraints.
[12 empty] | total middle-row end-chamber volumes | Number of chambers | stone | chamber | total
[17 empty] | #REF! | #REF! |  | #REF! | #REF! |  | purpose of this area is to discover the minimum and maximum allowable number of rows based on the dimension constraints
[13 empty] | #REF! | #REF! | #REF! | #REF!
[12 empty] | total middle-row middle-chamber volumes | Number of chambers | stone | chamber | total | #REF! | #REF! |  | #REF! | #REF!
note: The Above segment is for determining the number of rows based on the number of chambers per row when the constraint is by length.
[13 empty] | #REF! | #REF! | #REF! | #REF! | Required Storage | Chosen Number of Rows | Number of End Rows | Number of Middle Rows | Volume of ECER*Number of End Rows |  | Volume of ECMR*Number of Middle Rows |  | Suggested
[12 empty] | totals | #REF! | #REF! | #REF! | #REF!
[25 empty] | #REF! |  | #REF!
[12 empty] | #REF! |  |  |  | #REF! | 0 | #REF! | #REF! | #REF! | #REF! |  | #REF!
[12 empty] | Chosen number of rows |  |  |  | #REF! | [8 empty] | #REF! |  | #REF!
[12 empty] | #REF! |  |  |  | #REF! | purpose of this section is to determin the number of chambers per full/partial row using the chosen/default number of rows |  | Max Number of End Chambers per Full Row | Max Number of Middle Chambers per Full Row |  | Max number of Chambers per full Row
[12 empty] | Number of Full Rows |  |  |  | #REF! | [8 empty] | Actual
[12 empty] | Total Layer Storage Volume (no perimeter) |  |  |  | #REF!
[12 empty] | Length of chamber row |  |  |  | #REF! |  |  | #REF! | #REF! |  | #REF! |  |  | Number of Rows |  | Number of Chambers per Full Row
[12 empty] | Width of all chamber rows |  |  |  | #REF!
[12 empty] | Total Stone Storage | #REF! | Total Chamber Storage |  | #REF! | [8 empty] | #REF! |  | #REF!
[17 empty] | number of rows |  | #REF!
[13 empty] | total chambers |  |  | #REF! | number of chambers per row |  | #REF!

## Hidden list (hidden)
Imperial
Metric
SC-44 | SC-44
SC-34E
SC-18
yes
no
yes
no
Width
Length